## in
equipment_type | no_of_outages_2020_2024
Connection device | 284
Pole | 237
Conductor | 214
Crossarm | 197
Transformer | 197
Cutout | 170
Lightning arrestor | 117
Fuse | 112
Switch | 80
Capacitor bank | 49
Insulator and bushing | 34
Other | 11
Recloser | 9
Anchor/guy | 8
Voltage regulator/booster | 6
Equipment Failure - Other | 5
Insulator and brushing | 3
Unknown | 2